## Cover Page
APPLICATION AND SUBMISSION FORMS FOR ENERGY EFFICIENCY BUIDING CODE

## Instructions
Instructions to applicants
1 | Facilities that comply with the criteria in Table 1 shall comply with ehe EEBC regulations and make submissions as stated in the regulations
2 | Application has to submitted in two stages, first at the preliminary design stage and the second in commissioning stage
3 | Prelimirary stage submission shall include a declared energy use (DEU) prepared by and Accredited Energy Auditor or an Acredited Energy Service Provider
4 | Where the actual design information differs from preliminary stage information those information should be resubmitted at the second stage allong with the supplementary literature
5 | Manufacturer literature,test reports,calculations and other documents shall be appropriatly attched and reffered properly
6 | Relevent Fees should be paid beforehand the application submitting (Table 2)
7 | Additional submissions may have to be submitted according to instructions received by the SLSEA
8 | The applicant shall either follow prescriptive or performance path, those who follow prescriptive path can opt to follow alternative path instead of prescriptive path where available
9 | Summary and General pages has to be completed regardless of the path chosen
10 | Construction shedule has to be submitted once Proceed to Construct (PtC) certificate is issued by the Authority
11 | Once the construction is complete and the systems are commisioned the second stage submission has to be made along with the Ready to Commission (RtC) notice
12 | After the award of Proceed to Operate (PtO) certificate the Energy Manager of the Facility shall submit the Energy Report at quarterly intervals
13 | At the end of one year of operation, based on the DEU and PEU prevailent energy use star ratings as in Table 3 will be issued
Table 1- Categories of buildings considered for compliance
| Categories | Criteria
| Commercial buildings | Floor area >1,000 m2
| Industrial facilities | Electrical power demand>500 kVA
| Housing developments | Air conditioning cooling capacity> 350 kWth
Air conditioning heating capacity> 250 kWth
Table 2- Fee structure
| Evaluation stage | Fee (LKR) of facility per 1000 m2
| Preliminary design evaluation (prescriptive and alternative paths) | 125000
| Preliminary design evaluation (performance path) | 250000
| Site visits | 5,000 (per visit)
| Detail design evaluation (prescriptive and alternative paths) | 125000
| Detail design evaluation (performance path) | 250000
| DER evaluation | 125000
Table 3- Rating scheme
| DEU/PEU | Star Rating
| 0.8 | Five stars *****
| 0.85 | Four stars ****
| 0.9 | Three stars ***
| 0.95 | Two stars **
| 1 | One star *

## Application
Office Use only
Application No.
Processing fees paid.
Stage (Preliminary Design/Detail design)
Receipt No.
Date of reciept of application
A. Facility Information
Facility Name: |  | Facility Address:
Municipal Council/ Urban Council/ Pradeshiya sabha
GPS coordinate
No of Floors: |  | Total Floor Area of the facility:
Monthly Electrical Power Demand (kVA): |  | Air Conditioning Cooling Capacity (kW):
Water heating Capacity (kW):
B. Details of Owner of facility
Name:
Address:
Telephone number: |  | Fax number
E-mail address:
C. Details of Consultant
Name:
Address:
Telephone number: |  | Fax number
E-mail address:
D. Details of Facility Manager
Name:
Address:
Telephone number: |  | Fax number
E-mail address:
E. Details of parties involved in the construction and management of the facility
| Name | Address | Telephone number
Architects
Consortium Consultant
Contractor
Other
F. Purpose of Application
o New construction |  | o Retrofit
G. Path of compliance
Section | Complience path (prescriptive/Alternatice/Performance)
Building Envelope
HVAC
Service water heating
Lighting
Electrical Power Distribution
Other Equipment
H. Declaration of Applicant
I/We certify that the information given in this application and attached submittals are true and correct and undertake not to commence any development activity till the proceed to construct certificate is awarded.
…………….……………….. ..……………………………
Signature of Consultant Signature of Facility Manager
Date:

## Constrution shedule
Detailed construction schedule
Activity | Start date | Finish date
Site preparation and earthwork
Structural engineering work
Masonry work
Carpentry work and Fenestration fittings
Electrical and lighting system installation
Duct and pipework
Wiring
Power outlets and light fitting installation
Installation of lighting devices
Transformer installation
Commissioning of electrical systems
Commissioning of lighting systems
HVAC system
Ductwork
Plumbing work
System installation
Control system and electrical connections
Commissioning
Lifts and elevators
Installation of system
Installation of control system and connection to electrical system
Commissioning
Water supply system
Plumbing work
Installation of pumping equipment
Installation of end use equipment
Installation of hot water supply equipment
Installation of control system and connection to electrical system
Commissioning of hot water supply system
Commissioning of water supply system

## RTC notice
Ready to commission Notice
We hereby declare that the ………………………………………. (name of facility) at…………………………………..(address of facility) has been completed according to the criteria in the Energy Efficiency Building Code and ready for occupancy from ……………………………..( date of start of operations). The Facility contains following systems and commissioned by the professionals who has signed herewith
System | Component | Date(s) of testing/commissioning | Professional(s) names signature and official seals
Building Envelop | Air leakage test
HVAC | Air system balancing
Hydronic system balancing
System commissioning
Lighting | System commissioning
Water supply | System commissioning
Lifts | System commissioning
Electrical system | System commissioning
Service water heating | System commissioning
Signed (Facility manager)
………………………………………………
Name:
Signature
Official seal

## Energy report I
Reporting data formats (from SECBR base)
General Information
Organisation details: | Name of organisation:
Business registration number:
Section: G/K Division: 47/64 Group: 471/641/649 Class:
(Delete not applicable)
Main business operation (please describe):
Address:
Telephone number:
Email address:
Website:
Electricity account details: | Account number:
Tariff category:
Electricity service provider contact point:
Facility Manager Information: | Name(s) of Facility Manager:
Address:
Telephone number:
Signature | Email address:
Energy Manager information: | Name of Energy Manager:
Nature of engagement: appointed in house/outsourced
Registration number:
Address:
Telephone number:
Signature | Email address:

## Energy Report II
Reporting data formats (from SECBR base)
Detailed Energy Consumption Report
1. Operation
| Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Holidays
Opening Time:
Closing Time:
2. Energy Systems
Electricity (Nominal consumption)
Grid |  | kWh/month | Self Generation |  | kWh/month
Contract Demand |  | kVA | Diesel Generator |  | kW (capacity)
|  |  | Solar PV |  | kW (capacity)
Liquid Fuels (Nominal consumption) |  |  | Gaseous Fuels (Nominal consumption)
Diesel |  | l/month | LP Gas |  | kg/month
Kerosene |  | l/month | Bio Gas |  | m3/month
Other Fuels |  |  | Other Fuels
Solid Fuels (Nominal consumption)
Coal |  | kg/month
Biomass |  | kg/month | Fuel wood |  | kg/month
|  |  | Saw Dust |  | kg/month
|  |  | Paddy Husk |  | kg/month
Other
3. Facility composition
Building unit identification |  | Total area m2 |  |  | Serviced area m2
[5 empty] | A/C |  | Non A/C
4. Energy use data
Electricity
Reporting window | Grid Electricity |  |  | Self Generated Electricity kWh
| kVA |  | kWh | Diesel |  | Solar PV
Jan
Feb
Mar
Liquid Fuels - Consumption Litres
Reporting window | Generator fuel (Diesel) | Diesel | Furnace oil | Kerosene | Other
Jan
Feb
Mar
Gaseous Fuels - Consumption kg
Reporting window |  | LP Gas | Bio gas | Coal |  | Fuel wood | Other
Jan
Feb
Mar
5. Output Information
Output | Product/service description |  |  |  | Unit of measure
Product 1
Product 2
Product 3
Service 1
Service 2
6. Output data
Reporting window |  | Output volume
|  | Product 1 | Product 2 | Product 3 |  | Service 1 | Service 2
Jan
Feb
Mar
7. Specific Energy Consumption (SEC)

## Summary page
| No | Submission Documents | Description | Verification documents | Applicable path | Applicable stage D-Design C-Commissioning | Reference to standard | Page No.
ENVELOPE | 1 | All floor plans | All floor plans clearly identifying conditioned - cooled spaces, conditioned - heated spaces and unconditioned spaces | N/A | All | D | 5.6.1
| 2 | All detailed sections and elevations | All detailed sections and elevations indicating overall envelope, wall and fenestration types | N/A | All | D | 5.6.3
| 3 | All detailed roof plans and sections | All detailed roof plans and sections indicating roof types and fenestration on roofs | N/A | All | D | 5.6.2
| 4 | Detailed construction of each type of wall | area, thickness of layers,material type | N/A | P&A only | D | 5.6.7.1/5.6.8.2
| 5 | Detailed construction of each type of fenestration | area, thickness of layers,material type | N/A | P&A only | D | 5.6.7.1/5.6.8.2
| 6 | Detailed construction of roofs and facades | area, thickness of layers,material type | N/A | P&A only | D | 5.6.7.1/5.6.8.2
| 7 | Air tightness and leakage data | applicable to spaces bounding air conditioned spaces only. Positive pressure areas needs leackage test | Confirmation and test results provided by a professional. | All | C | 5.6.4
| 8 | VLT data of fenestrations |  | Laboratory certification or manufacturer documentation | All | D | 5.6.5
| 9 | SRI data – SRI of roof sub-elements |  | Laboratory certification or manufacturer documentation | All | D | 5.6.6
| 10 | R,U value of construction material |  | Laboratory certification or manufacturer documentation for materials not included in the code | All | D | 5.6.7.2/5.6.8.2
| 11 | SHGC of fenestrations |  | Laboratory certification or manufacturer documentation | P & Pe only | D | 5.6.7.2
| 12 | Shading Coefficients of fenestration material |  | third party certification or manufacturer documentation | A only | D | 5.6.8.2
| 13 | ETTV calculation and RTTV calculation |  | N/A | A only | D | 5.6.8.1
| 14 | Input output reports and messages from design software | Input output reports from the simulation programme with a breakdown of energy usage in components | N/A | Pe only | D | 11.1.3
HVAC | 1 | Cooling/heating load calculation | Calculations leading to equipment capacity selection |  | All | D | 6.3.2.1/6.6.1.1
| 2 | Indoor design conditions |  |  | All | D | 6.3.2.2
| 3 | Outdoor design condition |  | Data from the met department | All | D | 6.3.2.3
| 4 | Fresh air and exhaust |  |  | All | D | 6.3.2.4
| 5 | Equipment capacity selection |  |  | All | D | 6.3.2.5
| 6 | Sensors and Control systems Details | Details of controls related to zone thermostatic controls,off hour controls,zone isolation,optimum start control and ventillation system controls | manufacturer literature | All | D | 6.3.3
| 7 | Duct and plenum insulation details |  | manufacturer literature | All | D | 6.3.4.1
| 8 | Duct and plenum leakage details |  | manufacturer literature | All | D | 6.3.4.2
| 9 | Piping insulation Details |  | manufacturer literature | All | D | 6.3.4.3
| 10 | Water treatment system details |  | manufacturer literature | All | D | 6.3.4.4
| 11 | Boiler efficiency details |  | manufacturer literature | All | D | 6.3.4.5
| 12 | Air system design and control |  |  | P only | D | 6.4.1
| 13 | Hydronic system design and control |  |  | P only | D | 6.4.2
| 14 | Heat rejection equipment |  |  | P only | D | 6.4.3
| 15 | Energy recovery system details |  |  | P only | D | 6.4.4
| 16 | Hot gas bypass |  |  | P only | D | 6.4.5
| 17 | Layout of the instruments |  |  | P only | D | 6.6.1.2
| 18 | Equipment efficiencies |  |  | P only | D | 6.4.6
| 19 | Drawings of systems | Drawings shall include the information not less than the general configuration including piping and instrumentation,location,sub system sizes and performance data |  | All | C | 6.6.1.2
| 20 | System commissioning reports |  |  | All | C | 6.6.1.5
| 21 | Air system balancing report |  |  | All | C | 6.6.1.4
| 22 | Hydronic system balancing report |  |  | All | C | 6.6.1.4
| 23 | Operation and Maintenace manuals |  |  | All | C | 6.6.1.3
| 24 | DSE calculations |  |  | A only | D | 6.6.1/6.5
| 25 | Air handling system efficiency calculations |  |  | A only | D | 6.6.1/6.6
| 26 | Input output reports and messages | Input output reports from the simulation programme with a breakdown of energy usage in components | N/A | Pe only | D | 11.1.3
SWH | 1 | Load calculation |  |  | All | D | 7.3.2
| 2 | Heating system efficiencies |  | manufacturer literature | All | D | 7.3.3
| 3 | Piping insulation Details |  | manufacturer literature | All | D | 7.3.4
| 4 | Sensors and Control systems Details |  | manufacturer literature | All | D | 7.3.5
| 5 | Standby loss calculations |  |  | All |  | 7.4.1.a
| 6 | Energy calculations |  |  | All |  | 7.4.1.b
| 7 | Thermal efficiency and/or calculations for Gas Systems |  |  | All |  | 7.4.3
| 8 | Drawings | Drawings shall include the information not less than the general configuration including piping and instrumentation,location,sub system sizes and performance data |  | All | D | 7.5.1.1
| 9 | Operation and Maintenace manuals |  |  | All | C | 7.5.1.2
| 10 | System commissioning reports |  |  | All | C | 7.5.1.3
| 11 | Input output reports and messages | Input output reports from the simulation programme with a breakdown of energy usage in components | N/A | Pe only | D | 11.1.3
LIGHTING | 1 | Complete set of plans depicting lighting devices |  |  | All | D | 9.6
| 2 | The standard and design maintained illuminance for all the interior spaces; |  |  | All | D | 9.3.1/9.6.a
| 3 | The specifications and numbers of each type of lighting device; |  | manufacturer literature | All | D | 9.6.b
| 4 | The total power of each type of lighting device including nominal rating and control gear losses; |  |  | All | D | 9.6.c
| 5 | The installed lighting power for interior and exterior spaces; |  |  | All | D | 9.3.6/9.6.d
| 6 | Control systems installed for the lighting system components including locations of sensors and controls; |  |  | All | D | 9.3.2-9.3.5
| 7 | Building area method calculation |  |  | P only | D | 9.4
| 8 | Space by space method calculation |  |  | A only | D | 9.5
| 9 | Input output reports and messages | Input output reports from the simulation programme with a breakdown of energy usage in components | N/A | Pe only | D | 11.1.3
ELECTRICAL | 1 | A single-line diagram of the building electrical distribution system; |  |  | All | D | 8.4.a
| 2 | Floor plans indicating location and area served for all distribution; |  |  | All | D | 8.4.b
| 3 | Schematic diagrams of electrical control systems used for power saving (if any); |  |  | All | D | 8.4.c
| 4 | Voltage drop calculations for feeder conductors and branch circuit conductors; |  |  | All | D | 8.3.1.1/8.4.d
| 5 | Efficiency of transformars | applicable only for consumer who own transformers | Manufacturers’ data sheets | All | D | 8.3.2.1/8.4.e
| 6 | Electrical system commissioning report |  |  | All | C | 8.4.f
OTHER | 1 | Shedules of motors |  | Manufacturers’ data sheets confirming the minimum rated efficiency for motors; | All | D | 10.2.1
| 2 | Shedules of lifts |  | Manufacturerers data sheets confirming flow rate, efficiency and specific speed at the best efficient point for water pumps | All | D | 10.2.2
| 3 | Shedules of pumps |  | Manufacturers data sheets confirming the standby power and specific energy demand of lifts | All | D | 10.2.3
| 4 | Input output reports and messages | Input output reports from the simulation programme with a breakdown of energy usage in components | N/A | Pe only | D | 11.1.3
P-prescriptive path
A-Alternative path
Pe-Performance path

## Envelope(P)
BUILDING ENVELOPE COMPLIANCE INFORMATION
| Warm humid/ Warm dry / Uplands | ASHRAE | Reference for calculation
Climate Zone:
Space Category | Gross Wall Area (m2): | Window Area (m2): | Window-Wall Ratio: | Gross Roof Area (m2): | Skylight Area (m2): | Skylight-Roof Ratio
Conditioned cooled
Conditioned heated
Unconditioned
Air tightness and leakage data (5.3.1)
Building or Enevelope ID | Air conditioned /Non Air conditioned | Leakage (%) | Test standard | Test date(s) | Comply with (5.3.1 a-g requirements) (Y/N)
Visual Light Transmittance (5.3.2)
Fenestration ID | VLT | Manufacturer's literature
Roof solar reflectance (5.3.3)
Roof ID | Roofing material | Insulation material | Roof area (m2) | Solar panal (%) | Vegetation (%) | SRI | Reflectance | Thermal Emmittance | Manufacturer's literature
Envelope U Value (5.4.1)
Walls
Wall ID | Orientation | Proposed U value of surface W/m2 | Surface area m2 | WWR | Shedule of detaied construction and material properties | Manufacturer's literature | Calculations (reference)
Roofs
Roof ID | Orientation | Proposed U value of surface W/m2 | Surface area m2 | Skylight percentage | Shedule of detaied construction and material properties | Manufacturer's literature | Calculations (reference)
Fenestration SHGC (5.4.2)
Description/ Name | Proposed Values | [5 empty] | Shedule of detaied construction and material properties | Manufacturer's literature | Calculations (reference)
| Area, m2 | SHGC | Projection (check) | Projection factor | Adjusted SHGC | U Value (W/m2)

## HVAC(P)
HVAC COMPLIANCE INFORMATION
Mandatory Requirements (6.3)
Load calculation (6.3.2)
Calculation procedure (6.3.2.1) | Submit a summary of Cooling load calculations
Total cooling load
Total heating load
Indoor design conditions (6.3.2.2)
| Space type | Dry bulb temperature | Relative humidity
Outdoor design conditions (6.3.2.3)
|  | Value | Reference for calculation
Wet bulb temperature
Dry bulb temperature
Fresh air and exhaust (6.3.2.4)
Space | Occupancy | Area (m2) | Fresh air rate (m3/h) | Per person rate | Area rate
Controls (6.3.3)
Thermostatic controllers (6.3.3.1)
Zone | Temperature set point | Controller reference ID | Specifications
Off hour controllers (6.3.3.2)
Zone | Type of controller (Timer,Occupancy,Manual Timer,Interlocked) | Controller reference ID | Specifications
Zone isolation (6.3.3.2.2)
System | catered zones | availability of zone isolators | availability of optimum start controllers
Ventillation system control (6.3.3.3)
Ventillator System | Operational availability in case of fire | Shut down capability when not in use
Stair and elevator shaft ventilators
outdoor supply exhaust ventillators
HVAC system construction and insulation and leakage levels( 6.3.4.1/6.3.4.2)
Duct ID | Duct location |  |  | Insulation R value
| Exterior | Unconditiond spaces or buried ducts | Indirectly conditioned spaces
Piping insulation (6.3.4.3)
Pipe refernce ID | Location | Design temperature(OC) | nominal pipe size (mm) | Insulation material | Insulation thickness (mm) | Insulation conductivity (W/mK) | Mean rating temperature (OC)
Water treatment systems (6.3.4.4)
Cooling tower ID | Capacity (Ton) | Availability of water treatment systems | Specifications
Boilers for space heating (6.3.4.5)
Equipment reference ID | Equipment type | Capacity (kW) | Sub - Category or Rating Condition | Testing Standards | Efficiency**
Prescriptive path
Air system design and control (6.4.1)
Total fan system power
If total fan system power > 3.5 kW please fill the following table
Fan system power limitation (6.4.1.1)
Location | Fan ID | Power as per nameplate (kW) | Design air flow (l/s) | Design fan power (kW) | Allowable fan power (kW)
for VAV systems with fan power >10kW fill the following table
Partload fan power limit (6.4.1.2.1)
Location | Fan ID | Power as per nameplate (kW) | Vairable pitch blades (Y/N) | VFD controlloed (Y/N)
Static pressure sensors (6.4.1.2.2/6.4.1.2.3)
for VAV systems fill the following table
Location | Fan ID | pressure sensor location | Set point (Pa)
Hydronic variable flow systems (6.4.2.1)
Chilled/Hot water system ID | Availability of flow control system | Design flow rate (m3/s) | Manufacturer declared minimum flow rate (m3/s) | Miminum flow rate delivered by the control system (m3/s) | Control system type (Differntial pressure/Flow) | Differential pressure sensor location
Chilled/Hot water pump ID | Power of motor (kW) | Wattage at 50% of design flow
`
Chiller and boiler isolation (6.4.2.2)
Chiller/Boilet plant ID | Number of units in parellel operation | Flow reduction capability through chillers when running under capacity
Water temperature reset control (6.4.2.3)
Chilled/Hot water system ID | Capacity | Availability of water temperature reset control | type of sensor (return temperature/outdoor air temperature)
Heat rejection equipment (6.4.3)
Fan ID | Motor power (kW) | Speed (rpm) | Minimum speed achievable through control (rpm) | Sensing parameter fluid temperature /pressure
Exhaust energy recovery (6.4.4.1)
Fan ID | Design supply air capacity (m3/hr) | Out door supply air percentage (%) | Heat recovery effectiveness (%)
Equipment efficiencies (6.4.6)
Cieling fans
Location | Fan ID | swept diameter (mm) | star rating | test procedure
Electrically operated unitary air conditioners and condensing units
Location | Equipment type | Capacity (kW) | Sub - Category or Rating Condition | Testing Standards | Efficiency (COP) | Part-load Efficiency (ICOP)
Electrically operated VRF systems
Location | Equipment type | Capacity (kW) | Sub - Category or Rating Condition | Testing Standards | Efficiency (COP) | Part-load Efficiency (ICOP)
Water chilling packages
Location | Equipment type | Capacity (kW) | Sub - Category or Rating Condition | Testing Standards | COP (FL) | COP (IPLV)
Heat rejection equipment
Location | Equipment type | Capacity (kW) | Sub - Category or Rating Condition | Testing Standards | Perfomance (l/s.kW) or kWth/kWe
Heat pumps
Location | Equipment type | Capacity (kW) | Sub - Category or Rating Condition | Testing Standards | Perfomance HSPF or COPH
Notes:
I. ** Please specify the appropriate units.
II. Use tables in section 6.4.6 of Energy Efficiency Building Code of Sri Lanka - 2020 as reference.

## Lighting (P)
LIGHTING COMPLIANCE INFORMATION
Mandatory Provisions
Illuminance levels (9.3.1)
Building ID | Floor | space | Required Illuminance level (lux) | Proposed Illuminance level (lux)
Automatic lighting shut off (9.3.2)
Building ID | Area (m2) | Type of automatic shut off
Space control (9.3.2)
Building ID | Space | Function (class room,lecture room,conference room…) | Area (m2) | Number of independent control devices | Number of manual control devices | availability of controls to change lighting between 30-60% of lighting power | Availability of occupancy controls to shut off lights within 15 minutes after zero occupancy | Availability of manual/automatic controls where occupnacy controls are not there
Automatic day lighting control-side lighting and top lighting (9.3.4)
Building ID | Space (day lit) | Area (m2) | WWR (%) | Availability of day light controller | Availability of 3 stage lighting control | Availability of automatic switching off after reaching 200% of required illuminanace level
Exterior lighting control (9.3.5)
Type of controller
Exterior location | Availability of lighting controller (Y/N) | Manual | Automatic-daylight sensor | Automatic-timer
Exterior building lighting power (9.3.6)
Lighting Wattage (Exterior)
Location ID | Exterior space | Allowed LPD | Proposed LPD
|  | (W/m2) or (W/m) | (W/m2) or (W/m)
Prescriptive path - building area method (9.4)
A. Maximum Allowed Lighting Wattage (Interior)
Floor/ Rooms ID | Building area type | Allowed LPD | Area | LPD x Area
|  | (W/m2) ** | (m2)
** As indicated in table 9.4-1 in Energy Efficiency Building Code of Sri Lanka - 2020 |  | Total Allowed Watts Ʃ (e)
B. Proposed Lighting Wattage (Interior)
Floor/ Rooms ID | Building area type | Proposed LPD | Area | LPD x Area
|  | (W/m2) ** | (m2)
Total Proposed Watts may not exceed Total Allowed Watts for Interior |  | Total Proposed Watts Ʃ (e)

## SWH (P)
SERVICE WATER HEATING COMPLIANCE INFORMATION
Mandatory Requirements (7.3.1-7.3.4)
A. Load calculation (7.3.2)
a) Total heating load
b) Calculation procedure - Submit a summary of Heating load calculations.
B.Heating Equipment Schedule (7.3.3)
Equipment reference ID | Equipment type | Capacity (kW) | Sub - Category or Rating Condition | Testing Standards | Efficiency**
Notes:
I. ** Please specify the appropriate units.
Piping insulation (7.3.4)
Pipe refernce ID | Location | Design temperature(OC) | nominal pipe size (mm) | Insulation material | Insulation thickness (mm) | Insulation conductivity (W/mK) | Mean rating temperature (OC)
Service water heating system controls (7.3.5)
Storage system ID | Temperature | Control reference ID | Specifications
Pipe reference ID | Temperature | Controller reference ID | Specifications
Storage system ID | Temperature | Heat trap ID | Specifications
Pipe reference ID | Temperature | Heat trap ID | Specifications
Circulating pump ID | Temperature | Control ID | Specifications
Space heating and service water heating (7.4.1)
|  |  | Value | reference for calculations
Is there a oil/gas fired boiler for additional function of water heating where the main function is space heating (Y/N)
Ratio of (space heating: water heating)
PMD (l/s)
Standby loss (kW)
Saving when single heat source is used instead of one (GJ/Annum)
Energy Input of the combined space and water heating system (kW)
Buildings with (high capacity gas service water heating (7.4.3)
| Value | Reference of calculations
Total input capacity (kW)
Thermal efficiency if single gas water heating system is used (%)
Weighted average efficiency of individual units (%) if multiple units are used

## Electrical equipment (P,Pe)
ELECTRICAL SYSTEM COMPLIANCE INFORMATION
Electrical supply details
Tariff Category
Supply amperage (30/60A)
Transformer details (8.3.2.1)
Parameter | T1 | T2 | T3
Rating (kVA)
Efficiency (when tested according to IEC Standard 60076-1 Ed. 2.1)
Voltage drop (8.3.1.1/8.3.3)
Type of installations | Allowable maximum voltage-drop |  | proposed maximum voltage-drop
| Lighting Circuits | Other Circuits | Lighting Circuits | Other Circuits
Low voltage installations supplied directly from a public low voltage distribution system | 3% | 5%
Low voltage installation supplied from private LV supply | 6% | 8%
Feeder circuit | N/A | 5%
Power factor correction (8.3.4)
Location | Description | Corrected power factor | capacitor capacity (kVAR) | Harmonic filters (Y/N)
Main circuit
Other circuit 1
Other circuit 2
Other circuit 3
Balancing of single phase loads (8.3.5)
Three phase circuit identification | Allowable maximum imbalance | Proposed imbalance
10%
10%
10%
10%
Submetering (8.3.6)
Circuit identification | Phase (single/3-phase) | Current rating | Submetering parameters

## Other equipment (P,Pe)
OTHER EQUIPMENT COMPLIANCE INFORMATION
Motors (10.3.1)
Motor Identification number | Motor rated output (P, in kW) | Minimum rated efficiency (%) |  | Test standard
|  | 2-pole | 4-pole
Remarks:
Compliance to above should be based on testing to relevant international standards such as IEEE 112-B:2004, or IEC 60034-2-1 : 2007.
Pumps (10.3.2)
Pump ID no | Rated power (kW) | Type | rpm | MEI
Lifts ( 10.3.3)
Usage | Method of driving | Electric motor | Motor control | Dynamic (D) /regenerative braking (R) | no of storeys catered | Standby power (W)* | Specific energy demand for the reference running cycle (mWh/kg·m)**
*The standby power is the total active power measured at five minute after serving the last destination.
**The reference running cycle is the reference running cycle specified in ISO 25745-2 and VDI 4707

## Envelope (A)
BUILDING ENVELOPE COMPLIANCE INFORMATION-ALTERNATIVE PATH
| Warm humid/Warm dry/Uplands |  | ASHRAE | Reference for calculation
Climate Zone:
Space Category | Gross Wall Area (m2) | Window Area (m2): | Window-Wall Ratio: | Gross Roof Area (m2): | Skylight Area (m2): | Skylight-Roof Ratio
Conditioned cooled
Conditioned heated
Unconditioned
Air tightness and leakage data (5.3.1)
Building or Enevelop ID | Air conditioned /Non Air conditioned | Leakage (%) | Test standard | Test date(s) | Comply with (5.3.1 a-g requirements) (Y/N)
Visual Light Transmittance (5.3.2)
Fenestration ID | VLT | Manufacturer's literature
Roof solar reflectance (5.3.3)
Roof ID | Roofing material | Insulation material | Roof area (m2) | Solar panal (%) | Vegetation (%) | SRI | Reflectance | Thermal Emmittance | Manufacturer's literature
Alternative compliance (5.5)
Walls
Building ID | Wall ID | Orientation | WWR | Pitch angle | correction factor | Proposed U value of surface W/m2 | Surface area m2 | WWR | Shedule of detaied construction and material properties | Manufacturer's literature | Calculations (reference)
Roof properties
Building ID | Roof ID | Orientation | SKR | Pitch angle | correction factor | Proposed U value of surface W/m2 | Surface area m2 | Skylight percentage | Shedule of detaied construction and material properties | Manufacturer's literature | Calculations (reference)
Fenestration properties
Building ID | Wall ID/Roof ID | Fenestration ID | Proposed Values |  |  | Shedule of detaied construction and material properties | Manufacturer's literature | Calculations (reference)
|  |  | Area, m2 | SC | U Value (W/m2)
Envelop overall properties
Building ID | ETTV | RTTV | Calculation reference

## HVAC (A)
HVAC COMPLIANCE INFORMATION-ALTERNATIVE PATH
Mandatory Requirements (6.3)
Load calculation (6.3.2)
Calculation procedure (6.3.2.1) | Submit a summary of Cooling load calculations
Total cooling load
Total heating load
Indoor design conditions (6.3.2.2)
| Space | Dry bulb temperature | Relative humidity
Outdoor design conditions (6.3.2.3)
|  | Value | Reference for calculation
Wet bulb temperature
Dry bulb temperature
Fresh air and exhaust (6.3.2.4)
Space | Occupancy | Area (m2) | Fresh air rate (m3/h) | Per person rate | Area rate
Controls (6.3.3)
Thermostatic controllers (6.3.3.1)
Zone | Temperature set point | Controller reference ID | Specifications
Off hour controllers (6.3.3.2)
Zone | Type of controller (Timer,Occupancy,Manual Timer,Interlocked) | Controller reference ID | Specifications
Zone isolation (6.3.3.2.1)
System | catered zones | availability of zone isolators | availability of optimum start controllers
ventillation system control (6.3.3.3)
Ventillator System | Operational availability in case of fire | Shut down capability when not in use
Stair and elevator shaft ventilators
outdoor supply exhaust ventillators
HVAC system construction and insulation and leakage levels( 6.3.4.1/6.3.4.2)
Duct ID | Duct location |  |  | Insulation R value
| Exterior | Unconditiond spaces or buried ducts | Indirectly conditioned spaces
Piping insulation (6.3.4.3)
Pipe refernce ID | Location | Design temperature(OC) | nominal pipe size (mm) | Insulation material | Insulation thickness (mm) | Insulation conductivity (W/mK) | Mean rating temperature (OC)
Water treatment plants (6.3.4.4)
Cooling tower ID | Capacity (Ton) | Availability of water treatment plant | Specifications
boilers for space heating (6.3.4.5)
Equipment reference ID | Equipment type | Capacity (kW) | Sub - Category or Rating Condition | Testing Standards | Efficiency (EER, COP, Kw/ton) **
Alternative path_DSE option (6.5)
Water cooled system (6.5.1)
Maximum building cooling load (TR) | DSE | Reference calculation
Air cooled system (6.5.2)
Maximum building cooling load (TR) | DSE | Reference calculation
Air handling system efficiency (6.5.3)
Air distribution system type | Fan system input power
| kW/m3/s | W/m3/hr
AHU≥4kW (constant volume)
AHU≥4kW (Variable volume )
FCU <4kW
Notes:
I. ** Please specify the appropriate units.
II. Use tables in section 6.4.6 of Energy Efficiency Building Code of Sri Lanka - 2020 as reference.
Please submit the following additional documents when required
a) Cooling/heating load calculation
b) Layout of the instruments
c) details of equipment for the verification of DSE calculations
f) Piping layout
g) Piping insulation Details
h) Duct lay out
i) Duct insulation Details
j) Sensors and Control systems Details
k) Heat recovery system details
l) System commissioning reports
m) Air system balancing report
n) Hydronic system balancing report
o) Operation and Maintenace manuals

## Lighting (A)
LIGHTING COMPLIANCE INFORMATION-ALTERNATIVE PATH
Mandatory Requirements (9.3)
Illuminance levels (9.3.1)
Building ID | Floor | space | required Illuminance level (lux) | Proposed Illuminance level (lux)
Automatic lighting shut off (9.3.2)
Building ID | Area (m2) | Type of automatic shut off
Space control (9.3.2)
Building ID | Space | Function (class room,lecture room,conference room…) | Area (m2) | Number of independent control devices | Number of manual control devices | availability of controls to change lighting between 30-60% of lighting power | Availability of occupancy controls to shut off lights within 15 minutes after zero occupancy | Availability of manual/automatic controls where occupnacy controls are not there
Automatic day lighting control-side lighting and top lighting (9.3.4)
Building ID | Space (day lit) | Area (m2) | WWR (%) | Availability of day light controller | Availability of 3 stage lighting control | Availability of automatic switching off after reaching 200% of required illuminanace level
Exterior lighting control (9.3.5)
Type of controller
Exterior location | Availability of lighting controller (Y/N) | Manual | Automatic-daylight sensor | Automatic-timer
Exterior building lighting power (9.3.6)
Lighting Wattage (Exterior)
Location ID | Exterior space | Allowed LPD | Proposed LPD
|  | (W/m2) or (W/m) | (W/m2) or (W/m)
Alternative path - Space by space method (9.5)
A. Maximum Allowed Lighting Wattage (Interior)
Floor/ Rooms ID | Space type | Allowed LPD | Area | LPD x Area
|  | (W/m2) | (m2)
Total Allowed Watts Ʃ (e)
B. Proposed Lighting Wattage (Interior)
Floor/ Rooms ID | Space type | Allowed LPD | Area | LPD x Area
|  | (W/m2) | (m2)
Total Proposed Watts may not exceed Total Allowed Watts for Interior |  | Total Proposed Watts Ʃ (e)
Please submit the following additional documents when required
a) Complete set of plans depicting lighting devices
b) The standard and design maintained illuminance for all the interior spaces;
c)The specifications and numbers of each type of lighting device;
d) The total power of each type of lighting device including nominal rating and control gear losses
e)The installed lighting load for interior and exterior spaces;
f) Control systems installed for the lighting system components including locations of sensors and controls;
g) space by space method calculation

## Envelop (Pe)
BUILDING ENVELOPE COMPLIANCE INFORMATION-PERFORMANCE PATH
| Warm humid/Warm dry/Uplands | Ashrae | Reference for calculation
Climate Zone:
Space Category | Gross Wall Area (m2): | Window Area (m2): | Window-Wall Ratio: | Gross Roof Area (m2): | Skylight Area (m2): | Skylight-Roof Ratio
Conditioned cooled
Conditioned heated
Unconditioned
Air tightness and leakage data (5.3.1)
Building or Envelope ID | Air conditioned /Non Air conditioned | Leakage (%) | Test standard | Test date(s) | Comply with (5.3.1 a-g requirements) (Y/N)
Visual Light Transmittance (5.3.2)
Fenestration ID | VLT | Manufacturer's literature
Roof solar reflectance (5.3.3)
Roof ID | Roofing material | Insulation material | Roof area (m2) | Solar panal (%) | Vegetation (%) | SRI | Reflectance | Thermal Emmittance | Manufacturer's literature

## HVAC (Pe)
HVAC COMPLIANCE INFORMATION-PERFORMANCE PATH
Mandatory Requirements (6.3)
Load calculation (6.3.2)
Calculation procedure (6.3.2.1) | Submit a summary of Cooling load calculations
Total cooling load
Total heating load
Indoor design conditions (6.3.2.2)
| Space | Dry bulb temperature | Relative humidity
Outdoor design conditions (6.3.2.3)
|  | Value | Reference for calculation
Wet bulb temperature
Dry bulb temperature
Fresh air and exhaust (6.3.2.4)
Space | Occupancy | Area (m2) | Fresh air rate (m3/h) | Per person rate | Area rate
Controls (6.3.3)
Thermostatic controllers (6.3.3.1)
Zone | Temperature set point | Controller reference ID | Specifications
Off hour controllers (6.3.3.2)
Zone | Type of controller (Timer,Occupancy,Manual Timer,Interlocked) | Controller reference ID | Specifications
Zone isolation (6.3.3.2.1)
System | catered zones | availability of zone isolators | availability of optimum start controllers
ventillation system control (6.3.3.3)
Ventillator System | Operational availability in case of fire | Shut down capability when not in use
Stair and elevator shaft ventilators
outdoor supply exhaust ventillators
HVAC system construction and insulation and leakage levels( 6.3.4.1/6.3.4.2)
Duct ID | Duct location |  |  | Insulation R value
| Exterior | Unconditiond spaces or buried ducts | Indirectly conditioned spaces
Piping insulation (6.3.4.3)
Pipe refernce ID | Location | Design temperature(OC) | nominal pipe size (mm) | Insulation material | Insulation thickness (mm) | Insulation conductivity (W/mK) | Mean rating temperature (OC)
Water treatment plants (6.3.4.4)
Cooling tower ID | Capacity (Ton) | Availability of water treatment plant | Specifications
boilers for space heating (6.3.4.5)
Equipment reference ID | Equipment type | Capacity (kW) | Sub - Category or Rating Condition | Testing Standards | Efficiency **
Notes:
I. ** Please specify the appropriate units.
II. Use tables in section 6.4.6 of Energy Efficiency Building Code of Sri Lanka - 2020 as reference.
Please submit the following additional documents when required
a) Cooling/heating load calculation
b) Layout of the instruments
f) Piping layout
g) Piping insulation Details
h) Duct lay out
i) Duct insulation Details
j) Sensors and Control systems Details
k) Heat recovery system details
l) System commissioning reports
m) Air system balancing report
n) Hydronic system balancing report
o) Operation and Maintenace manuals
j) Input output reports from the simulation programme
k) Messages generated by the simulation tool employed, related to its inputs and outputs supporting the judgement of the compliance

## Lighting (Pe)
LIGHTING COMPLIANCE INFORMATION-PERFORMANCE PATH
Mandatory Requirements (9.3)
Illuminance levels (9.3.1)
Building ID | Floor | space | required Illuminance level (lux) | Proposed Illuminance level (lux)
Automatic lighting shut off (9.3.2)
Building ID | Area (m2) | Type of automatic shut off
Space control (9.3.2)
Building ID | Space | Function (class room,lecture room,conference room…) | Area (m2) | Number of independent control devices | Number of manual control devices | availability of controls to change lighting between 30-60% of lighting power | Availability of occupancy controls to shut off lights within 15 minutes after zero occupancy | Availability of manual/automatic controls where occupnacy controls are not there
Automatic day lighting control-side lighting and top lighting (9.3.4)
Building ID | Space (day lit) | Area (m2) | WWR (%) | Availability of day light controller | Availability of 3 stage lighting control | Availability of automatic switching off after reaching 200% of required illuminanace level
Exterior lighting control (9.3.5)
type of controller
Exterior location | Availability of lighting controller (Y/N) | Manual | Automatic-daylight sensor | Automatic-timer
Exterior building lighting power (9.3.6)
Lighting Wattage (Exterior)
Location ID | Exterior space | Allowed LPD | Proposed LPD
|  | (W/m2) or (W/m) | (W/m2) or (W/m)

## SWH (Pe)
SERVICE WATER HEATING COMPLIANCE INFORMATION-PERFORMANCE PATH
Mandatory Requirements (7.3.1-7.3.4)
A. Load calculation
a) Total heating load
b) Calculation procedure - Submit a summary of Heating load calculations.
B.Heating Equipment Schedule
Equipment reference ID | Equipment type | Capacity (kW) | Sub - Category or Rating Condition | Testing Standards | Efficiency (EER, COP, Kw/ton) **
Notes:
I. ** Please specify the appropriate units.
Piping insulation (7.3.4)
Pipe refernce ID | Location | Design temperature(OC) | nominal pipe size (mm) | Insulation material | Insulation thickness (mm) | Insulation conductivity (W/mK) | Mean rating temperature (OC)
Service water heating system controls (7.3.5)
Storage system ID | Temperature | Control reference ID | Specifications
Pipe reference ID | Temperature | Controller reference ID | Specifications
Storage system ID | Temperature | Heat trap ID | Specifications
Pipe reference ID | Temperature | Heat trap ID | Specifications
Circulating pump ID | Temperature | Control ID | Specifications